SOFTWARE DEVELOPMENT PLAN Template — SaMD • SiMD • Health Software Template Reference: SJL-TMP-SW-001 Version: 1.0 ¦ May 2026 ¦ IEC 62304:2006+A1:2015 • ISO 13485:2016 • IEC 81001-5-1:2021

✎  INSTRUCTION TO AUTHOR: This template must be completed for every SaMD / SiMD / health software project before design activities begin. Orange instructional text in this template must be replaced with project-specific content and removed from the final document. Fields marked [  ] are mandatory. Review and approve the completed plan before any design or implementation work commences.

| Field | Entry | Field | Entry |
| --- | --- | --- | --- |
| Product Name | [ ] | Document Reference | [SJL-SDP-XXX-001] |
| Project Code | [ ] | Version | [0.1 Draft / 1.0 Approved] |
| Software Safety Class | [A / B / C — justify below] | IEC 62304 Ed.2 Rigor Level | [Level I / Level II — for planning] |
| QMS Reference | SJL-SOP-SW-001 | Template Reference | SJL-TMP-SW-001 |
| Prepared By | [ ] | Review Date | [Date] |
| Approved By | [ ] | Approval Date | [Date] |

# 1.  INTRODUCTION AND SCOPE

### 1.1  Product Overview

✎  Provide a brief description of the software product: its intended use, the clinical problem it addresses, and the type of device (SaMD, SiMD, health software). 3-5 sentences is sufficient.

| Product Name: |  |
| --- | --- |

| Intended Use Statement: |  |
| --- | --- |

| Device Type (SaMD / SiMD / Health SW): |  |
| --- | --- |

| Target Market: |  |
| --- | --- |

### 1.2  Scope of This Plan

✎  Define which software components are within scope for this SDP. If the product has multiple software items with different safety classes, list them. Specify any software explicitly excluded from this plan and why.

[Describe scope here — which software items, which lifecycle phases, which regulatory markets are covered by this plan.]

### 1.3  Regulatory Framework

✎  List the applicable regulatory requirements and standards this product must comply with. Delete inapplicable items and add any market-specific requirements.

- EU MDR 2017/745 — Rule [  ] — Class [I / IIa / IIb / III]

- IEC 62304:2006+A1:2015 — Class [A / B / C] — and/or IEC 62304 Edition 2 (on publication)

- ISO 14971:2019+Amd.2024 — Risk Management

- IEC 81001-5-1:2021 — Cybersecurity (if connected device)

- IEC 62366-1:2015 — Usability Engineering

- [EU AI Act 2024/1689 — if AI/ML component present]

- [FDA 21 CFR Part 820 / QMSR — if US market]

- [Other: specify]

# 2.  SOFTWARE SAFETY CLASSIFICATION

### 2.1  Classification Decision

✎  State the software safety class for each software item. Justify the decision by referencing the ISO 14971 hazard analysis. If different software items have different classes, create a row for each. Complete all fields.

| Software Item | Class | Justification (reference hazard analysis) | Worst-Case Harm if Software Fails |
| --- | --- | --- | --- |
| [Item 1] | [A/B/C] | [ ] | [ ] |
| [Item 2] | [A/B/C] | [ ] | [ ] |
| [Add rows as needed] |  |  |  |

### 2.2  External Risk Controls

✎  For Class B software: document the external risk controls (outside the software) that limit harm to non-serious injury. These controls must be verified and must not be assumed without evidence.

[List external risk controls. If none: confirm Class C is appropriate.]

NOTE: If any software item is not clearly Class A, default to the more stringent class. Reclassification requires a documented change assessment.

# 3.  DEVELOPMENT LIFECYCLE MODEL

### 3.1  Lifecycle Model Selection

✎  Specify the development methodology. If using Agile or iterative methods, explain how the IEC 62304 lifecycle phases map to sprints or iterations, and how mandatory deliverables are produced for each releasable increment.

| Parameter | Entry |
| --- | --- |
| Lifecycle model selected | [V-model / Iterative / Agile + IEC 62304 gate structure / Other] |
| Justification | [ ] |
| Sprint length (if Agile) | [ ] |
| How IEC 62304 phases map to iterations | [ ] |
| Release cadence | [ ] |

### 3.2  Quality Gates

✎  Define the quality gate criteria for each major lifecycle phase. These must be met before the next phase begins. Adapt to your lifecycle model but do not remove mandatory gates.

| Phase | Exit Criteria | Approver(s) | Target Date |
| --- | --- | --- | --- |
| Planning | SDP approved | Dev Lead, QA, RA | [ ] |
| Requirements | SRS baselined; RTM initiated | Dev Lead, QA, RA | [ ] |
| Architecture | SAD approved; software items classified; SOUP list initiated | Dev Lead, QA, Product Security | [ ] |
| Detailed Design (B/C only) | SDDD approved | Dev Lead, QA | [ ] |
| Implementation | Code review complete; unit tests pass (B/C); SAST clean | Dev Lead, QA | [ ] |
| Integration Testing | Integration tests pass; report approved | QA | [ ] |
| System Testing | All system tests pass; security tests complete; known anomalies approved | QA, RA, Product Security | [ ] |
| Release | Release record signed; SBOM current; regulatory approval confirmed | Quality, RA, Product Security | [ ] |

# 4.  DEVELOPMENT TEAM AND RESPONSIBILITIES

✎  Complete the table below with named individuals. Deputy/backup assignments must also be named. Do not leave roles unfilled — assign an interim name if a permanent appointment has not been made.

| Role | Name | Contact / Location | Deputy |
| --- | --- | --- | --- |
| Software Development Lead | [ ] | [ ] | [ ] |
| Quality Assurance Lead | [ ] | [ ] | [ ] |
| Regulatory Affairs Lead | [ ] | [ ] | [ ] |
| Product Security / PSIRT Lead | [ ] | [ ] | [ ] |
| Risk Manager | [ ] | [ ] | [ ] |
| Clinical Affairs Lead | [ ] | [ ] | [ ] |
| AI Lead (if applicable) | [ ] | [ ] | [ ] |
| [Other role] | [ ] | [ ] | [ ] |

# 5.  DEVELOPMENT STANDARDS, METHODS AND TOOLS

### 5.1  Coding Standards and Languages

| Parameter | Selection | Reference / Justification |
| --- | --- | --- |
| Programming language(s) | [ ] | [ ] |
| Coding standard applied | [e.g. MISRA C, CERT C, OWASP] | [ ] |
| Code review standard | [Number of reviewers; independence requirements] | ISO 13485 § 7.3 |
| Secure coding practices | [Reference to SJL-SOP-SEC-001 § 5.5] | IEC 81001-5-1 § 5 |

### 5.2  Development Tools (Validation Status)

✎  List all tools used in the development process that could affect software safety. For Class B/C tools: validation evidence or documented rationale is required. Do not list general office tools unless they produce safety-critical output.

| Tool Name | Version | Purpose | Validation Status | Notes / Risk Mitigation |
| --- | --- | --- | --- | --- |
| [IDE / Compiler] | [ ] | Development | [Validated / Justified] | [ ] |
| [Version Control] | [ ] | Configuration Management | [Justified] | [ ] |
| [SAST Tool] | [ ] | Security Scanning | [Validated] | [ ] |
| [Test Framework] | [ ] | Unit / Integration Testing | [Validated] | [ ] |
| [Issue Tracker] | [ ] | Defect Management | [Justified] | [ ] |
| [CI/CD Platform] | [ ] | Build Automation | [Validated] | [ ] |
| [AI Dev Tool — if any] | [ ] | [Purpose — must have PSIRT approval] | [PSIRT Approval Ref] | See SJL-SOP-SEC-001 § 5.5 |

# 6.  CONFIGURATION MANAGEMENT

| Configuration Management Element | Description |
| --- | --- |
| Version control system | [Name, version, hosting location] |
| Branching strategy | [Main/develop/feature/hotfix or describe] |
| Protected branches and merge rules | [Who can approve merges; required reviews] |
| Release tagging convention | [e.g. v{major}.{minor}.{patch}] |
| Build reproducibility | [How builds are made reproducible from tagged source] |
| Environment management (dev/test/prod segregation) | [How environments are separated and controlled] |
| Controlled items list | [Source code, test scripts, build configs, SOUP component pins, AI model artefacts (if applicable), controlled documents] |
| Backup and disaster recovery | [Backup frequency, offsite storage, recovery testing] |

# 7.  RISK MANAGEMENT APPROACH

✎  Do not duplicate the full risk management content here. Reference the applicable risk management plan and file. This section should confirm how risk management is integrated with this software development plan.

| Parameter | Entry |
| --- | --- |
| Risk management plan reference | [Document reference for the ISO 14971 Risk Management Plan] |
| Risk management file reference | [Document reference for the Risk Management File] |
| SOP reference | SJL-SOP-RM-001 |
| How risk analysis feeds into software requirements | [Describe — e.g. hazards identified in FMEA feed directly into SRS as safety requirements] |
| Cybersecurity risk integration | [Reference to Security Development Plan and SJL-SOP-SEC-001 § 6.1] |
| AI-specific risk integration (if applicable) | [Reference to AI Development Plan and SJL-SOP-AI-001 § 8] |
| Risk management reviews scheduled | [At: SRS review; SAD review; system test complete; post-market at defined intervals] |

# 8.  CYBERSECURITY ACTIVITIES

✎  For any connected device, networked device, or AI-enabled device, this section is mandatory. Reference the Security Development Plan (SDP-SEC). Summarise the key security activities planned; do not duplicate the full SDP-SEC here.

| Security Activity | Plan / Reference |
| --- | --- |
| Security Development Plan reference | [SJL-SDP-SEC-XXX or integrated into this document as Section 8] |
| Threat modelling approach | [STRIDE per SJL-SOP-SEC-001 § 5.3; STRIDE-AI if AI present] |
| SBOM management | [CycloneDX / SPDX; automated generation in CI/CD per SJL-SOP-SEC-001 § 7] |
| Security testing scope | [SAST, DAST, fuzz testing, penetration testing — timing and responsibility] |
| Penetration testing | [Independent pen test before release; scope defined by threat model] |
| Vulnerability monitoring post-release | [Continuous SBOM monitoring; threat intel feeds per SJL-SOP-SEC-001 § 7.2] |
| Coordinated vulnerability disclosure | [CVD contact; process reference SJL-TMP-CVD-001] |

# 9.  SOUP MANAGEMENT

✎  The SOUP list is initiated at architectural design and maintained throughout the lifecycle. Reference the current version here. This section should confirm the approach to SOUP management; the list itself is a separate controlled document.

| Parameter | Entry |
| --- | --- |
| SOUP List document reference | [SJL-SOUP-XXX-001 or embedded in this document as Appendix A] |
| SOUP identification point in lifecycle | [At architectural design; updated on each change] |
| SOUP evaluation criteria | [Documentation adequacy; known anomalies; vulnerability status; support lifetime; licence] |
| SOUP verification approach | [How correct operation in device context is confirmed] |
| Policy on AI model SOUP (if applicable) | [Reference SJL-SOP-AI-001 § 6.3; AI models require additional provenance and security assessment] |
| Open source licence review | [Who reviews licence compliance; approval authority] |

# 10.  VERIFICATION AND VALIDATION PLANNING

### 10.1  Test Strategy Summary

✎  Summarise the V&V approach. Full test plans will be produced at the appropriate lifecycle stage. This section confirms the overall strategy is planned.

| Test Level | Required for Class | Approach / Tools | Responsibility |
| --- | --- | --- | --- |
| Unit Testing | B, C | [Framework; coverage targets] | Dev Lead |
| Integration Testing | B, C | [Approach; environment] | Dev Lead / QA |
| System Testing | A, B, C | [Black-box; requirements-based] | QA |
| Security Testing (SAST/DAST) | A if connected; B, C | [Tools; frequency] | Product Security |
| Penetration Testing | A if connected; B, C | [Independent; before release] | Product Security |
| Usability Validation | A, B, C | [Summative study per IEC 62366-1] | UX / Clinical |
| AI Performance Testing | If AI present | [Per SJL-SOP-AI-001 § 7] | AI Lead / QA |

### 10.2  Test Environment

✎  Describe the test environment. For system testing, the environment should be as representative as possible of the intended deployment environment.

[Describe test hardware, operating system, network configuration, clinical system interfaces (real or simulated), and any differences from the intended deployment environment with documented justification.]

### 10.3  Independence Requirements

NOTE: For Class C software, final system testing and release review must be conducted by personnel independent of those who performed the primary development. Document how independence is achieved.

[Describe independence arrangements. For small teams: document cross-functional independence or use of external QA resource.]

# 11.  PROBLEM RESOLUTION AND DEFECT MANAGEMENT

| Parameter | Entry |
| --- | --- |
| Defect tracking system | [Tool name and project reference] |
| Defect severity classification | [Critical: patient safety impact / High: significant functionality; security vulnerability / Medium / Low — define for this project] |
| Escalation triggers | [Critical and High security defects: escalate to Product Security Lead and Risk Manager within 24 hours] |
| Release criteria for open defects | [No open Critical or High without documented risk acceptance; Medium and Low deferred to known anomalies list with risk rationale] |
| Known anomalies list reference | [Separate document or appendix to Release Record] |
| Metrics to be tracked | [Open defect count by severity; mean time to close; regression rate] |

# 12.  MAINTENANCE PLANNING

| Parameter | Entry |
| --- | --- |
| Software Maintenance Plan reference | [SJL-SMP-XXX-001 or section of this document] |
| Problem report intake channel | [Email / ticketing system / customer portal — reference] |
| Change classification scheme | [Bug fix / Security patch / Enhancement / Safety-related / Significant change — define criteria] |
| Patch deployment capability | [Auto-update / manual update / field service — document constraints] |
| SLA for Critical security patches | [Target: ≤ 30 days from identification per SJL-SOP-SEC-001 § 6.2] |
| End-of-support date | [ ] |
| PCCP scope (if AI device) | [Reference to PCCP document or confirm: PCCP not applicable] |

# 13.  DOCUMENT HISTORY AND APPROVAL

| Version | Date | Author | Summary |
| --- | --- | --- | --- |
| 0.1 | [Date] | [Author] | Initial draft for review |
| 1.0 | [Date] | [Author] | Approved version — [summary of significant changes from draft] |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Quality Review |  |  |  |
| RA Review |  |  |  |
| Approved By |  |  |  |

APPENDIX A — SOUP LIST ✎ Complete the SOUP list below at Architectural Design stage and update on every change. All third-party software components, libraries, open source packages, operating systems, middleware, and AI model artefacts (if applicable) must be listed.

| SOUP Item | Version | Licence | Safety Class of Using Item | Known Anomalies Source | Verification Approach | SBOM Entry? | AI SOUP? (Y/N) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| [ ] | [ ] | [ ] | [A/B/C] | [ ] | [ ] | [Y] | [N] |
| [ ] | [ ] | [ ] | [A/B/C] | [ ] | [ ] | [Y] | [N] |